## Slide 1: BTC Software Programs – Update
Presented
By
FRA
[PSC]
01/21/2025

## Slide 2: Agenda
BTC Software Projects Overview
Primary Test Structure & Process
Primary Consolidated Report Overview
Next Steps

## Slide 3
BTC Software Projects Overview

## Slide 4: BTC Software Projects Overview
Notes: Thickness of the line is relative to the amount of effort we are currently putting in each project

## Slide 5: BTC Software Projects Overview
Notes: Here are all the projects that we are working at the BTC
Thickness of the line is relative to the amount of effort we are currently spending in each project

## Slide 6: BTC Software Projects Overview
Notes: Here are all the projects that we are working at the BTC
Thickness of the line is relative to the amount of effort we are currently spending in each project

## Slide 7: BTC Software Projects Overview
Notes: Thickness of the line is relative to the amount of effort we are currently spending in each project

## Slide 8: BTC Software Projects Overview
Notes: Thickness of the line is relative to the amount of effort we are currently spending in each project

## Slide 9: BTC Software Projects Overview
Notes: Thickness of the line is relative to the amount of effort we are currently spending in each project

## Slide 10: BTC Software Projects Overview
Notes: Thickness of the line is relative to the amount of effort we are currently spending in each project

## Slide 11: BTC Software Projects Overview
Notes: Thickness of the line is relative to the amount of effort we are currently spending in each project

## Slide 12: BTC Software Projects Overview
Notes: Thickness of the line is relative to the amount of effort we are currently spending in each project

## Slide 13: BTC Software Projects Overview
Notes: Thickness of the line is relative to the amount of effort we are currently spending in each project

## Slide 14: BTC Software Projects Overview
Notes: Thickness of the line is relative to the amount of effort we are currently spending in each project

## Slide 15: BTC Software Projects Overview
Notes: Thickness of the line is relative to the amount of effort we are currently spending in each project

## Slide 16: BTC Software Projects Overview
Notes: Thickness of the line is relative to the amount of effort we are currently spending in each project

## Slide 17: BTC Software Projects Overview
Notes: Thickness of the line is relative to the amount of effort we are currently spending in each project

## Slide 18
Primary Test Structure & Process

## Slide 19: Primary Subtest Process
Notes: Task Received
  Gather all requirements for the test
Acquire Cells
  Purchase cells if they are not already available
Enter Cell Information
  Input detailed cell data into the inventory database

## Slide 20: Primary Test Matrix

## Slide 21: Primary Subtest Process
Notes: Task Received
  Gather all requirements for the test
Acquire Cells
  Purchase cells if they are not already available
Enter Cell Information
  Input detailed cell data into the inventory database

## Slide 22: Subtest Data Analysis
Data Analysis
  Software analyzes every cell in the subtest.
  Report test metrics at each voltage cutoff.
  Create tables.
  Generate data visualizations.
  Weight and dimensions for each cell are queried from the W&D SQL Database.
Test Engineer Review
  Handles test discrepancies.
  Validates data.
  Performs further data analysis if needed.
Notes: The reason why I will explain in detail the primary data analysis process is to convey that although most of the process is automated, the process is still very involved for test engineers. This show that the data is validated and reviewed before building the report.

## Slide 23: Primary Subtest Process
Notes: Task Received
  Gather all requirements for the test
Acquire Cells
  Purchase cells if they are not already available
Enter Cell Information
  Input detailed cell data into the inventory database

## Slide 24: Subtest Excel File
Enables Python to efficiently extract tables.
Facilitates data validation, analysis, and error correction by test engineers.
Median cell is selected based on median capacity at principal voltage cutoff.
Subtest Excel file serves as data storage, with Python processing the data.
This file is reviewed by two additional test engineers.

## Slide 25: Primary Subtest Process
Notes: Task Received
  Gather all requirements for the test
Acquire Cells
  Purchase cells if they are not already available
Enter Cell Information
  Input detailed cell data into the inventory database

## Slide 26: Subtests to Consolidated Reports
Complete Test Analysis
Consolidated Report
Notes: Process of extracting tables and median cells is automated, reducing formatting and copy/paste operations for test engineers. Plo

## Slide 27
Primary Consolidated Report Overview

## Slide 28: Consolidated Report
Summary of the complete Test.
Includes all tables from each subtest.
Most data visualizations include only the median cell from each subtest.

## Slide 29: Data visualization – All Cells Capacity

## Slide 30: Data visualization – TvC

## Slide 31: Data visualization – VvC
All temperatures at a specific drain rate
All drain rates at a specific temperature

## Slide 32: Data visualization – VvE
All temperatures at a specific drain rate
All drain rates at a specific temperature

## Slide 33: Tables
Tests metrics
Test voltages
Weight and dimensions
Voltage drops
  Total Pulse (TP) voltage drop is now included
DCIR
  Total DCIR (DCIR TP) is now included

## Slide 34: Voltage Drops

## Slide 35: DCIR Table

## Slide 36: Consolidated Report Notes
The majority of the process is now automated using Python.
Test engineers are still involved to ensure data accuracy and to conduct further data analysis.
The process for creating a consolidated report is aligned with building presentation and primary handbook entries.

## Slide 37
Next Steps

## Slide 38: Next Steps
Deliver primary consolidated reports
Enhance primary data analysis software
Transition to secondary consolidated reports